

Best Practice – OMNIA Bridge

16.08.2017

─

Emanuele Magliozzi

Cosmed Asia Pacific

25 Dickson Ave

2064 Artarmon NSW

Contents

[Changes and Compatibility 2](#_Toc490663831)

[Overview 3](#_Toc490663832)

[Goals 3](#_Toc490663833)

[Pre-requisites 3](#_Toc490663834)

# Changes and Compatibility

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Author** | **Notes** | **OCP v** | **BP API v** |
| 16/08/17 | Emanuele | First Draft | 0.4 | 1.0.6 |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

# Overview

BP-OMNIA Bridge is a software (in C#) that allows Best Practice and OMNIA to communicate and to exchange personal details and spirometry results. The user can control and double check the data exchange using a basic graphical interface.

# Goals

1. Transfer person details from BP into OMNIA to create/select the patient/visit card
2. Transfer spirometry results plus PDF report into BP from OMNIA
3. Have this as simple and automatic as possible

# Pre-requisites

There is no control on OMNIA and BP installation and settings therefore the 2 software’s need to be installed and setup as suggested by the manufactures. Furthermore:

* OMNIA v1.6.3 or higher
* BP Premier “Lava Edition” (1.8.5.754) or higher